## 3 Year Graduated -<200kW
Proposed for 2019 Update
Original and Proposed Average RS17a Rate per kWh | [9 empty] | Original RS17 Calculations
Pro-forma RS17 Customer Profile
|  | 2019 | 2020 | 2021 |  | Component | Amount | Units |  |  | 2018 Rate Schedule 1 | [5 empty] | Customer Profile - Stabilized
| Original | 0.061988 | 0.081726 | 0.12219 |  | Demand | 30 | kW | [5 empty] | Customer Profile |  |  | kWhs - Monthly Avg | 5000
| New | 0.062058 | 0.08685 | 0.11164 |  | Load Factor | 92.5% |  |  |  | Basic | 0.55 | per day | kWhs - Monthly Avg | 5000
| Difference | -7.0986e-05 | -0.0051242 | 0.01055 |  | Annual Energy | 243090 | kWh |  |  | Energy | 0.04547 | per kWh |  |  |  | Bill - Monthly Avg | 686.5
[6 empty] | Monthly Energy | 20257.5 | kWh | [5 empty] | Bill - Monthly Avg | 244.0792 |  | Avg $/kWh | 0.1373
[14 empty] | Avg $/kWh | 0.048816
Average Cost/kWh of Pro-forma Customer
[6 empty] | Effective 4/1/2020 | 0.11164 | Target Rate | [8 empty] | Difference | 0.088484
[6 empty] | Effective 4/1/2019 | 0.061988 | Current Rate
[7 empty] | 0.049653 | Remaining Difference | [5 empty] | Customer Profile - Year 1
[7 empty] | 0.024827 | Yearly Increment |  |  | Basic | 5 | per day | kWhs - Monthly Avg | 5000
[11 empty] | Energy | 0.054484 | per kWh
[6 empty] | 3 Year Graduated |  | Year on Year | [5 empty] | Bill - Monthly Avg | 424.5048 | Basic | 152.0833 | 35.83%
[6 empty] | Year | Overall Rate* | Increase | [5 empty] | Avg $/kWh | 0.084901 | Energy | 272.4215 | 64.17%
[6 empty] | 2019 | 0.061988 | n/a | [6 empty] | -0.022813
[6 empty] | 2020 | 0.086814 | 40.05% | [7 empty] | Total Fixed |  | 35.83%
[6 empty] | 2021 | 0.11164 | 28.6%
Customer Profile - Year 2
[6 empty] | Rate beginning 4/1/2019 Using Typical Profile - RS17 |  |  |  |  | Basic | 7.5 | per day | kWhs - Monthly Avg | 5000
[6 empty] | Determinant | Billing Rate | Units | Bill |  | Energy | 0.081652 | per kWh
[6 empty] | Basic Charge | 5 | per day | 152.0833 |  |  |  |  | Bill - Monthly Avg | 636.3833 | Basic | 228.125 | 35.85%
|  |  | Energy | 0.054551 |  | Energy | 0.054551 | per kWh | 1105.0589 |  |  |  |  | Avg $/kWh | 0.12728 | Energy | 408.2583 | 64.15%
|  |  | Difference | 0 |  | Demand | 0 | per kW Bill Demand | 0 | [5 empty] | -0.034219
[8 empty] | Total | 1257.1422 | [6 empty] | Total Fixed |  | 35.85%
[8 empty] | per kWh* | 0.062058
Customer Profile - Year 3
[6 empty] | Rate beginning 4/1/2020 Using Typical Profile - RS17 |  |  |  |  | Basic | 10 | per day | kWhs - Monthly Avg | 5000
[6 empty] | Determinant | Billing Rate | Units | Bill |  | Energy | 0.12209 | per kWh
[6 empty] | Basic Charge | 7.5 | per day | 228.125 |  |  |  |  | Bill - Monthly Avg | 914.625 | Basic | 304.1667 | 33.26%
|  |  | Energy | 0.075588 |  | Energy | 0.075588 | per kWh | 1531.2337 |  |  |  |  | Avg $/kWh | 0.18293 | Energy | 610.4583 | 66.74%
|  |  | Difference | 0 |  | Demand | 0 | per kW Bill Demand | 0 | [5 empty] | -0.045625
[8 empty] | Total | 1759.3587 | [6 empty] | Total Fixed |  | 33.26%
[8 empty] | per kWh* | 0.08685
Scenario 3
[6 empty] | Rate beginning 4/1/2021 Using Typical Profile - RS17 |  |  |  |  | 3 Year Graduated
[6 empty] | Determinant | Billing Rate | Units | Bill |  | Year 1 | 0.062088 | 15% | 0.013273
[6 empty] | Basic Charge | 10 | per day | 304.1667 |  | Year 2 | 0.093058 | 35% | 0.030969
|  |  | Energy | 0.096626 |  | Energy | 0.096626 | per kWh | 1957.4009 |  | Year 3 | 0.1373 | 50% | 0.044242
|  |  | Difference | 0 |  | Demand | 0 | per kW Bill Demand | 0
[8 empty] | Total | 2261.5676
[8 empty] | per kWh* | 0.11164
*To calculate see note on overall per kWh for each year
**Actual cost/kWh based on 8891 approved rate and pro-forma customer
Note on P29: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D21
Note on P37: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D31
Note on P45: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D41

## 3 Year Graduated - >200 kW
Calculation Area - Use Goal Seek to set per kWh to attain target average $/kWh | [5 empty] | Proposed for RS17b for 2019 Update |  |  |  |  | Original per Resolution 8891
Year 1 | [6 empty] | Pro-forma RS17 Customer Profile |  |  |  | Rate Schedule 7 as of 4/1/2018 |  |  | Pro-forma Customer
Calculated Energy Charge 2019 |  |  | Customer Profile - 2019 |  |  |  | Component | Amount | Units |  | Basic | 148.32 | /mo | Billing Demand | 2000 | kW
Basic | 500 | per month | Billing Demand | 2000 | kW |  | Demand | 2000 | kW |  | Energy I | 0.021 | /kWh - 1st 50,000 | Load Factor | 92.5%
Energy | 0.02219 | per kWh | Load Factor | 92.85% |  |  | Load Factor | 92.85% |  |  | Energy II | 0.01857 | /kWh | kWhs - Annual | 16206000 | kWh
Demand | 8 | per kW Billing Demand | Annual | 16267631.9963 | kWh |  | Annual Energy | 16267631.9963 | kWh |  | Demand | 4.96 | /kW | kWhs - Monthly Avg | 1350500 | kWh
|  |  | Monthly | 1355635.9997 | kWh |  | Monthly Energy | 1355635.9997 | kWh |  | Energy I - first 50,000 kWh |  |  | Total Bill | 35268.61
| Goal Seek Error |  | Total bill | 46581.56 | $ | [8 empty] | Difference | 0.02612
|  |  | Average | 0.034361 | $/kWh |  | Average Cost/kWh of Pro-forma Customer | [6 empty] | Target Rate | 0.0799
Year 2 | [6 empty] | Effective 4/1/2020 | 0.048885 | Target Rate |  |  |  |  | Difference | #VALUE!
Calculated Energy Charge 2020 |  |  | Customer Profile - 2020 |  |  |  | Effective 4/1/2019 | 0.034183 | Current Rate
Basic | 750 | per month | Billing Demand | 2000 | kW |  |  | 0.014702 | Remaining Difference |  |  | Year of | Average Proforma | Assigned Target | Incremental
Energy | 0.013039 | per kWh | Load Factor | 92.85% |  |  |  | 0.007351 | Yearly Increment |  |  | Phase-in | $/kWh | Increase | YoY Adder
Demand | 19 | per kW Billing Demand | kWhs - Annual | 16267631.9963 | [7 empty] | Year 1 | 0.03419 | 15% | 0.0080677
|  |  | kWhs - Monthly Avg | 1355635.9997 |  |  | 3 Year Graduated |  | Year on Year |  |  | Year 2 | 0.053008 | 35% | 0.018825
|  |  | Total bill | 56425.91 | $ |  | Year | Overall Rate* | Increase |  |  | Year 3 | YoY Adder | 50% | 0.026892
|  |  | Avg $/kWh | 0.041623 | $/kWh |  | 2019** | 0.034183 | n/a
Year 3 | [6 empty] | 2020 | 0.041534 | 21.5%
Calculated Energy Charge 2020 |  |  | Customer Profile - 2020 |  |  |  | 2021 | 0.048885 | 17.7%
Basic | 1000 | per month | Billing Demand | 2000 | kW
Energy | 0.0038877 | per kWh | Load Factor | 92.85% |  |  | Rate beginning 4/1/2019** Using Typical Profile - RS17 |  |  |  | 2019 Rate Schedule 17
Demand | 30 | per kW Billing Demand | kWhs - Annual | 16267631.9963 |  |  | Determinant | Billing Rate | Units | Bill | Billing Determinants and Rates |  |  | Pro-forma Customer
|  |  | kWhs - Monthly Avg | 1355635.9997 |  |  | Basic Charge | 500 | per month | 500 | Basic | 500 | /mo | per month | 500
|  |  | Total bill | 66270.27 | $ |  | Energy | 0.02219 | per kWh | 30081.5628 | Energy | 0.02219 | /kWh | per kWh | 30081.5628
|  |  | Avg $/kWh | 0.048885 | $/kWh |  | Demand | 8 | per kW Bill Demand | 16000 | Demand | 8 | /kW | per kW Demand | 16000
[9 empty] | Total | 46581.5628 |  |  |  | Total | 46581.5628 | $
[9 empty] | per kWh* | 0.034361 |  |  |  | Average $/kWh | 0.03449 | $/kWh
Step
1 | Goal Seek Cells F41 set equal to 2019 Average $/kWh by changing D15 | [5 empty] | Rate beginning 4/1/2020 Using Typical Profile - RS17 |  |  |  | 2020 Rate Schedule 17
2 | Goal Seek Cells F41 set equal to 2019 Average $/kWh by changing D23 | [5 empty] | Determinant | Billing Rate | Units | Bill | Billing Determinants and Rates |  |  |  | Pro-forma Customer
[7 empty] | Basic Charge | 750 | per month | 750 | Basic | 750 | /mo | per month | 750
[7 empty] | Energy | 0.013039 | per kWh | 17676.1378 | Energy | 0.02465 | /kWh | per kWh | 33416.4274
[7 empty] | Demand | 19 | per kW Bill Demand | 38000 | Demand | 19 | /kW | per kW Demand | 38000
[9 empty] | Total | 56426.1378 |  |  |  | Total | 72166.4274 | $
[9 empty] | per kWh* | 0.041623 |  |  |  | Average $/kWh | 0.05344 | $/kWh
| 2019 | 2020 | 2021
Original | 0.034361 | 0.053234 | 0.080177 |  |  |  | Rate beginning 4/1/2021 Using Typical Profile - RS17 |  |  |  | 2021 Rate Schedule 17
New | 0.034361 | 0.041623 | 0.048885 |  |  |  | Determinant | Billing Rate | Units | Bill | Billing Determinants and Rates |  |  |  | Pro-forma Customer
Error | 0 | -0.00016484 | -0.00032968 |  |  |  | Basic Charge | 1000 | per month | 1000 | Basic | 1000 | /mo | per month | 1000
[7 empty] | Energy | 0.003888 | per kWh | 5270.7128 | Energy | 0.03518 | /kWh | per kWh | 47691.2745
[7 empty] | Demand | 30 | per kW Bill Demand | 60000 | Demand | 30 | /kW | per kW Demand | 60000
[9 empty] | Total | 66270.7128 |  |  |  |  | 108691.2745 | $
[9 empty] | per kWh* | 0.048885 |  |  |  |  | 0.08048 | $/kWh
*To calculate see note on overall per kWh for each year
**Actual cost/kWh based on 8891 approved rate and pro-forma customer
Note on X12: Author: In the original spreadsheet the values were not rounded.
Note on P29: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D21
Note on P37: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D31
Note on P45: Author: Goal Seek to make this equal to the target overall rate by changing energy component of this period - cell D41

## Rate Components
Rate Schedule 17 Proposed 2019 Update ($/kWh)
| Rate Schedule 17b |  | Rate Schedule 17ar & 17ac
| 31% | Assigned Additional Assessment | 31% | Assigned Additional Assessment
| 0.028068 | Rate 14 Cost to Serve | 0.0631 | Blended (RS 1 &2) Cost to Serve
| 0.001921 | Transmission Acceleration | 0.001921 | Transmission Acceleration
| 0.003365 | Distribution Adder | 0.003365 | Distribution Adder
| 0.003963 | Departure Liquidation Cost | 0.016836 | Departure Liquidation Cost
| 0.011568 | Additional Assessment | 0.026419 | Additional Assessment
| 0.048885 | Target for RS17b | 0.11164 | Target for RS17a
| 0.06061 | 11/25/2019 Workshop | 0.1065 | 11/25/2019 Workshop
| 0.0808 | Original 2021 Target | 0.1382 | Original 2021 Target

## Base Energy
Per Unit Cost from 2017 COSA for 2018 |  |  | Base Energy Calculation for Rate Schedule 17*
| Rate Class | Cost/kWh |  | Base Energy for RS17a
| RS1 | 0.07104 |  | 50% | 0.0631
| RS2 | 0.055159 |  | 50%
| RS3 | 0.058225
| RS6 | 0.19947
| RS7 | 0.03158 |  | Base Energy for RS17b
| RS14 | 0.028068 |  | 100% | 0.028068
| RS15 | 0.025421 |  | *Allocation Per the Commission as
| RS16 | 0.028687 |  | related by Rates & Pricing
Source: Average rates from Rates & Pricing

## Xmission Acceleration
Assumptions and Parameters |  |  | Call Option Value |  |  | Black-76 Model*
| Years to Completion | 3 |  | Value of Transmission to System (market) and EI (strike) |  |  | Variable | Value
| Discount Rate | 3.5% |  | Market - System Transmission Cost ($/MWh) | 3.3462 |  | F | 4.561 | Market Price - Actual cost of providing transmission to EI
| Year Transmission in Service | 2023 |  | Strike - Transmission Cost to EI ($/MWh) | 4.561 |  | X | 3.3462 | Strike Price - Actual cost of System use of Incremental Transmission
|  |  |  | Cost over System to EI ($/MWh) | 1.2148 |  | T | 3 | Years to Excersize
[7 empty] | r | 1.5% | Risk Free Rate
|  |  |  | Option Im=nputs |  |  | v | 50% | Implied Volatility (Based on NEPOOL Paper)
|  |  |  | Strike Price ($/MWh) | 3.3462 |  | d1 | 0.79063 | Required for model
|  |  |  | Market Price ($/MWh) | 4.561 |  | d2 | -0.075395 | Required for model
|  |  |  | Time to Strike (years) | 3 |  | Call ($/MWh) | 1.9213
|  |  |  | Option Value |  |  | for options on futures. Based on
|  |  |  | Intrinsic Value ($/MWh) | 1.2148 |  | Haug, E., "The Complete Guide to Option Pricing Formulas", 2nd Edition, Page 5
|  |  |  | Extrinsic Value ($/MWh) | 0.70653
|  |  |  | Total Value ($/MWh) | 1.9213

## Transmission Utilization
Incremental Transmission Assumptions |  |  | Incremental Transmission Analysis 2023 Through 2027 |  |  | Utilization of Incremental Transmission & Cost Recovery | [10 empty] | Transmission Capital Assumptions, Basis and Candidate Projects
| System Xmission Limit 2017 (MW) | 1125 |  | MWhs Delivered over Incremental Transmission |  |  | MWhs Delivered over Incremental Transmission | [10 empty] | Actual projects used as proxy for likely expected costs
| Year of Incremental Transmission Needed | 2023 |  |  | NPV |  |  | 2020-01-01 | 2021-01-01 | 2022-01-01 | 2023-01-01 | 2024-01-01 | 2025-01-01 | 2026-01-01 | 2027-01-01 | Total |  | Project | Probability* | Distance (miles) | Transmission | Station | Total Cost | Expected Cost
| Incremental Transmission Capacity (MVA) | 200 |  | System Portion (MWh) | 1543689.4869 |  | System Portion (MWh) | 0 | 0 | 1880.5157 | 1104540.761 | 474077.8953 | 157639.2696 | 0 | 0 | 1738138.4417 |  | Rocky Ford to Grand Coulee | 0% | 60 | 115167000 | 35000000 | 150167000 | 0
| System Load Factor (%) | 72.36% |  | EI Portion (MWh) | 3806969.0523 |  | EI Portion (MWh) | 0 | 0 | 6920.275 | 163176.7868 | 793639.6525 | 1110078.2781 | 1267717.5478 | 1267717.5478 | 4609250.0879 |  | Mountain View to Mic-C | 50% | 10 | 15364000 | 25000000 | 40364000 | 20182000
| Usable Transmission Load Capacity (aMW) | 144.7166 |  | Total | 5350658.5392 |  | Load on Transmission (MWh) | 0 | 0 | 8800.7907 | 1267717.5478 | 1267717.5478 | 1267717.5478 | 1267717.5478 | 1267717.5478 | 6347388.5296 |  | Network Upgrades | 50% | - | - | - | 43210000 | 21605000
| Usable Energy Transmission Capacity (MWh) | 1267717.5478 | [15 empty] | 155kV Ancient Lake-White Trail Tap | - | - | - | - | 8100000
|  |  |  | Capital Repayment for the period 2023 Through 2027 |  |  | Costs | [10 empty] | 155kV Frenchman Hill-Royal City | - | - | - | - | 6140000
| Transmission Capital in 2020 Dollars |  |  |  | NPV |  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Total |  | 155kV Larson-Wheeler Tap | - | - | - | - | 5810000
| Cash portion 40% of total Capital | 16714800 |  | Cash required for construction | -16713224.6962 |  | Cash | 0 | 0 | 0 | -18531997.537 | 0 | 0 | 0 | 0 | -18531997.537 |  | 155kV Ruff-Warden | - | - | - | - | 13160000
| Debt Component | 25072200 |  | Principal & Interest on Debt | -6369435.0445 |  | Principal & Interest | 0 | 0 | 0 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -7557070.3758 |  | 230/155 kV Rocky Ford XFMR | - | - | - | - | 10000000
| Debt Interest Rate | 3.5% |  | Total | -23082659.7408 |  | Total Costs | 0 | 0 | 0 | -20043411.6122 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -26089067.9128 |  |  | * Likelihood this option is selected |  |  |  | Total Expected Transmission Cost | 41787000
| Date for NPV Calculation Start | 2020-01-01
| Term (Years) | 30 |  | Recovery of Cash |  |  | Total Revenue requirements for first 5 years | [10 empty] | Assumptions for Above Projects
| Annual Principal + Interest | -1363208.9003 |  |  | NPV |  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Total |  | Cost | Description |  | Source
| Escalator 2020 to 2023 | 1.1087 |  | Cash | -18038660.3272 |  | Cash Recovery Payment | 0 | 0 | 0 | -4280424.39 | -4280424.39 | -4280424.39 | -4280424.39 | -4280424.39 | -21402121.9502 |  | 35000000 | 500kV Switchyard and substation
|  |  |  | P&I | -6369435.0445 |  | P&I | 0 | 0 | 0 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -1511414.0752 | -7557070.3758 |  | 25000000 | 230kV Switchyard and substation
| Required Cash Recovery |  |  | Total | -24408095.3717 |  | Total | 0 | 0 | 0 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -28959192.3259 |  | 1536400 | 230kV per mile |  | https://www.wecc.biz/Reliability/2014_TEPPC_Transmission_CapCost_Report_B+V.pdf
| Recovery Period (Years) | 5 | [15 empty] | 1919450 | 500kV per mile |  | https://www.wecc.biz/Reliability/2014_TEPPC_Transmission_CapCost_Report_B+V.pdf
| Premium for Cash Recovery | 1.5% |  | Allocation of Revenue Requirements |  |  | Allocation of Revenue Requirements
| Annual Recovery | -3860697.5558 |  |  | NPV |  |  | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | Total
| Premium Value of Cash | 1323860.3272 |  | System | -7044655.6939 |  | System | 0 | 0 | 0 | -5046330.452 | -2165926.1517 | -720208.6831 | 0 | 0 | -7932465.2867
|  |  |  | EI | -17363439.6778 |  | EI | 0 | 0 | 0 | -745508.0132 | -3625912.3135 | -5071629.7821 | -5791838.4652 | -5791838.4652 | -21026727.0392
|  |  |  | Total | -24408095.3717 |  | Total | 0 | 0 | 0 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -5791838.4652 | -28959192.3259
|  |  |  | Allocation of Revenue Requirements (in $2020) |  |  |  | 2021: Embedded System Transmission Cost per 2017 COSA
[5 empty] | $/MWh |  |  |  | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  |  |  | 2023 Embedded System Cost | 3.3462 |  |  |  | 3.8 | 3.79 | 3.71 | 2.55 | 2.27 | 2.23
|  |  |  | EI Transmissoin Cost ($/MWh) | 4.561
|  |  |  | Premium over System ($/MWh) | 1.2148
Note on AH6: Author: probability the Grand Coulee project is chosen
Note on AH7: Author: Probability Mountain View project is chosen
Note on AH8: Author: Probability Mountain View project is chosen

## Distribution adder
Incremental costs on Grant PUD Distribution System caused by EI Class Customers*
| 50 | Size Basis1 for Estimate (MW)
| 95% | Estimated Load Factor1
| 47.5 | Expected 2020 EI aMW
| 416100 | Annual MWh
| 20 | Annual expected incidents related to both legal and illegal EI activity1
| 2 | Annual expected major feeder failures due to both legal and illegal EI activity1
| 20000 | Grant PUD cost to respond and resolve an incident1
| 500000 | Grant PUD cost per major feeder failure (blowout)1
| 1400000 | Total Grant PUD annual expected cost increase
| 3.3646 | Expected cost per MWh of incremental distribution costs
*From Original Study

## Departure Costs a
Assumptions About EI Class and Retail Electric Competition |  |  | Calculation of Lost Revenue Recovery |  |  | Forecast Retail EI Sales for 23.3445 aMW at $111.64 per MWh | [6 empty] | Calculation of Expected Lost Revenue Due to Changes in Price Spread Between Grant PUD and Other States | [10 empty] | Prices and Strip Calculations
| Assumptions and Inputs: |  |  | 0.5403 | 2020 Expected MWa Retail Sales |  |  | Period | Monthly |  |  |  |  | Period | Balance of Year |  | Market |  | Maximum | Probability of Departure |  | Expected 12 month Loss |  |  |  | Monthly |  | 12-Month
| 1) | Customers will leave to save $40,000/year |  | 111.6411 | Required Retail Rate to keep no EI customers neutral* (input) |  |  |  | Days | Hours | MWh | Sales ($) |  |  | Retail $ | MWh | Price | Market $ | Lost $ | Monthly* | Cumulative | MWh | $ |  | Period | RTC Price | Monthly | Strip Price
| 2) | If other states drop rates $0.0025/kWh lower than Grant PUD |  | 111.641 | Current RS17b Retail Average Rate |  |  | 2020-01-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-01-01 | 22892906.03 | 205058.088 | 27.9121 | 5723594.4717 | -17169311.5583 | 0.25% | 0.25% | -512.6452 | -42923.2789 |  |  | $/MWh | Hours | $/MWh
| 3) | Oklahoma was identified as a strong competitor to Grant PUD |  | 7.8161e-05 | Error due to incorect Required Retail Rate (should be zero) |  |  | 2020-02-01 | 29 | 696 | 16247.772 | 1813918.7838 |  | 2020-02-01 | 20953889.399 | 187689.78 | 28.1297 | 5279654.7513 | -15674234.6477 | 2.18% | 2.43% | -4091.6372 | -341698.3153 |  | 2020-01-01 | 34.6661 | 744 | 27.9121
| 4) | Grant PUD is losing customers to OK and TX indicating that prices are close to par | [5 empty] | 2020-03-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-03-01 | 19139970.6152 | 171442.008 | 28.7169 | 4923289.3795 | -14216681.2357 | 2.68% | 5.11% | -4594.6458 | -381007.0571 |  | 2020-02-01 | 28.9167 | 696 | 28.1297
| 5) | The EI Class driven by the net cost of electricity in $/kWh |  | -2864770.841 | Expected 12 month loss |  |  | 2020-04-01 | 30 | 720 | 16808.04 | 1876467.7074 |  | 2020-04-01 | 17200953.9843 | 154073.7 | 29.4377 | 4535573.9563 | -12665380.028 | 2.87% | 7.98% | -4421.9152 | -363496.4068 |  | 2020-03-01 | 19.603 | 743 | 28.7169
| 6) | Because the EI class recovers its capital quickly, their opportunity cost of abandoning Assets is small |  | 170152.4391 | Expected MWh sold retail |  |  | 2020-05-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-05-01 | 15324486.2769 | 137265.66 | 29.6848 | 4074705.6113 | -11249780.6656 | 4.28% | 12.26% | -5874.9702 | -481490.6125 |  | 2020-04-01 | 14.6456 | 720 | 29.4377
| 7) | Grant PUD has a general hedge horizon of 12 months |  | -16.8365 | Departure Loss per MWh sold |  |  | 2020-06-01 | 30 | 720 | 16808.04 | 1876467.7074 |  | 2020-06-01 | 13385469.646 | 119897.352 | 30.0388 | 3601576.4681 | -9783893.1778 | 3.51% | 15.77% | -4208.3971 | -343414.6505 |  | 2020-05-01 | 10.5871 | 744 | 29.6848
| 8) | Round-the-Clock Pricing is the weighted heavy load and light load hours |  | *Minimum retail RS17 rate to recoverlost reveneus to prevent impacting Grant PUD net revenues |  |  |  | 2020-07-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-07-01 | 11509001.9386 | 103089.312 | 29.8495 | 3077160.2195 | -8431841.7191 | 3.75% | 19.52% | -3865.8492 | -316194.0645 |  | 2020-06-01 | 16.6356 | 720 | 30.0388
| 9) | The study assumes that customer will only make a decision about moving once a month | [5 empty] | 2020-08-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-08-01 | 9569985.3076 | 85721.004 | 30.2465 | 2592763.51 | -6977221.7976 | 3.24% | 22.76% | -2777.3605 | -226061.9862 |  | 2020-07-01 | 34.9108 | 744 | 29.8495
| 10) | Commercial & Credit considerations are not part of this assessment | [5 empty] | 2020-09-01 | 30 | 720 | 16808.04 | 1876467.7074 |  | 2020-09-01 | 7630968.6767 | 68352.696 | 30.4312 | 2080054.1816 | -5550914.495 | 2.73% | 25.49% | -1866.0286 | -151539.9657 |  | 2020-08-01 | 42.5419 | 744 | 30.2465
[8 empty] | 2020-10-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-10-01 | 5754500.9693 | 51544.656 | 31.0253 | 1599186.2692 | -4155314.7001 | 2.63% | 28.12% | -1355.6245 | -109284.7766 |  | 2020-09-01 | 33.6278 | 720 | 30.4312
| Monte Carlo Calculation Parameters | [6 empty] | 2020-11-01 | 30 | 720 | 16808.04 | 1876467.7074 |  | 2020-11-01 | 3815484.3383 | 34176.348 | 31.0561 | 1061384.9675 | -2754099.3709 | 2.62% | 30.74% | -895.4203 | -72157.4035 |  | 2020-10-01 | 28.3694 | 744 | 31.0253
| 1) | Oklahoma was determined to be a very competitive state for Industrial customers | [5 empty] | 2020-12-01 | 31 | 744 | 17368.308 | 1939016.631 |  | 2020-12-01 | 1939016.631 | 17368.308 | 31.1652 | 541287.3669 | -1397729.2641 | 2.54% | 33.28% | -441.155 | -35502.3233 |  | 2020-11-01 | 29.573 | 721 | 31.0561
| 2) | Volatilities are based on monthly retail volatilities for WA and OK; monthly data from EIA |  |  |  |  | 2021-01-01 | Totals | 366 | 8784 | 205058.088 | 22892906.03 | [6 empty] | Totals | 33.28% |  | -34905.6489 | -2864770.841 |  | 2020-12-01 | 40.3656 | 744 | 31.1652
| 3) | Value of power is at par between Grant PUD and OK in the first period | [11 empty] | *As calculated by P Dietz using Monte Carlo simulation over 100,000 random games | [10 empty] | 2021-01-01 | 37.2355 | 744
| 4) | The change in the price spread only needs to be $0.0025/kWh to entice some customers to leave | [22 empty] | 2021-02-01 | 36.6 | 672
[25 empty] | 2021-03-01 | 28.1007 | 743
[25 empty] | 2021-04-01 | 17.6522 | 720
[25 empty] | 2021-05-01 | 14.7554 | 744
[25 empty] | 2021-06-01 | 14.3315 | 720
[25 empty] | 2021-07-01 | 39.586 | 744
[25 empty] | 2021-08-01 | 44.7161 | 744
[25 empty] | 2021-09-01 | 40.8556 | 720
[25 empty] | 2021-10-01 | 28.7328 | 744
[25 empty] | 2021-11-01 | 30.8986 | 721
[25 empty] | 2021-12-01 | 37.1323 | 744

## Departure Costs b
Assumptions About EI Class and Retail Electric Competition |  |  | Calculation of Lost Revenue Recovery |  |  | Forecast Retail EI Sales for 23.3445 aMW at $48.89 per MWh | [6 empty] | Calculation of Expected Lost Revenue Due to Changes in Price Spread Between Grant PUD and Other States | [10 empty] | Prices and Strip Calculations
| Assumptions and Inputs: |  |  | 23.3445 | 2020 Expected MWa Retail Sales |  |  | Period | Monthly |  |  |  |  | Period | Balance of Year |  | Market |  | Maximum | Probability of Departure |  | Expected 12 month Loss |  |  |  | Monthly |  | 12-Month
| 1) | Customers will leave to save $40,000/year |  | 48.8853 | Required Retail Rate to keep no EI customers neutral* (input) |  |  |  | Days | Hours | MWh | Sales ($) |  |  | Retail $ | MWh | Price | Market $ | Lost $ | Monthly* | Cumulative | MWh | $ |  | Period | RTC Price | Monthly | Strip Price
| 2) | If other states drop rates $0.0025/kWh lower than Grant PUD |  | 48.885 | Current RS17a Retail Average Rate |  |  | 2020-01-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-01-01 | 10024331.4878 | 205058.088 | 27.9121 | 5723594.4717 | -4300737.0161 | 0.25% | 0.25% | -512.6452 | -10751.8425 |  |  | $/MWh | Hours | $/MWh
| 3) | Oklahoma was identified as a strong competitor to Grant PUD |  | 0.00032603 | Error due to incorect Required Retail Rate (should be zero) |  |  | 2020-02-01 | 29 | 696 | 16247.772 | 794277.6315 |  | 2020-02-01 | 9175276.0886 | 187689.78 | 28.1297 | 5279654.7513 | -3895621.3372 | 2.18% | 2.43% | -4091.6372 | -84924.5452 |  | 2020-01-01 | 34.6661 | 744 | 27.9121
| 4) | Grant PUD is losing customers to OK and TX indicating that prices are close to par | [5 empty] | 2020-03-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-03-01 | 8380998.457 | 171442.008 | 28.7169 | 4923289.3795 | -3457709.0775 | 2.68% | 5.11% | -4594.6458 | -92666.6033 |  | 2020-02-01 | 28.9167 | 696 | 28.1297
| 5) | The EI Class driven by the net cost of electricity in $/kWh |  | -674240.5936 | Expected 12 month loss |  |  | 2020-04-01 | 30 | 720 | 16808.04 | 821666.5154 |  | 2020-04-01 | 7531943.0578 | 154073.7 | 29.4377 | 4535573.9563 | -2996369.1015 | 2.87% | 7.98% | -4421.9152 | -85995.7932 |  | 2020-03-01 | 19.603 | 743 | 28.7169
| 6) | Because the EI class recovers its capital quickly, their opportunity cost of abandoning Assets is small |  | 170152.4391 | Expected MWh sold retail |  |  | 2020-05-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-05-01 | 6710276.5424 | 137265.66 | 29.6848 | 4074705.6113 | -2635570.9311 | 4.28% | 12.26% | -5874.9702 | -112802.4358 |  | 2020-04-01 | 14.6456 | 720 | 29.4377
| 7) | Grant PUD has a general hedge horizon of 12 months |  | -3.9626 | Departure Loss per MWh sold |  |  | 2020-06-01 | 30 | 720 | 16808.04 | 821666.5154 |  | 2020-06-01 | 5861221.1431 | 119897.352 | 30.0388 | 3601576.4681 | -2259644.675 | 3.51% | 15.77% | -4208.3971 | -79313.5281 |  | 2020-05-01 | 10.5871 | 744 | 29.6848
| 8) | Round-the-Clock Pricing is the weighted heavy load and light load hours |  | *Minimum retail RS17 rate to recoverlost reveneus to prevent impacting Grant PUD net revenues |  |  |  | 2020-07-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-07-01 | 5039554.6277 | 103089.312 | 29.8495 | 3077160.2195 | -1962394.4083 | 3.75% | 19.52% | -3865.8492 | -73589.7903 |  | 2020-06-01 | 16.6356 | 720 | 30.0388
| 9) | The study assumes that customer will only make a decision about moving once a month | [5 empty] | 2020-08-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-08-01 | 4190499.2285 | 85721.004 | 30.2465 | 2592763.51 | -1597735.7185 | 3.24% | 22.76% | -2777.3605 | -51766.6373 |  | 2020-07-01 | 34.9108 | 744 | 29.8495
| 10) | Commercial & Credit considerations are not part of this assessment | [5 empty] | 2020-09-01 | 30 | 720 | 16808.04 | 821666.5154 |  | 2020-09-01 | 3341443.8293 | 68352.696 | 30.4312 | 2080054.1816 | -1261389.6476 | 2.73% | 25.49% | -1866.0286 | -34435.9374 |  | 2020-08-01 | 42.5419 | 744 | 30.2465
[8 empty] | 2020-10-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-10-01 | 2519777.3139 | 51544.656 | 31.0253 | 1599186.2692 | -920591.0447 | 2.63% | 28.12% | -1355.6245 | -24211.5445 |  | 2020-09-01 | 33.6278 | 720 | 30.4312
| Monte Carlo Calculation Parameters | [6 empty] | 2020-11-01 | 30 | 720 | 16808.04 | 821666.5154 |  | 2020-11-01 | 1670721.9146 | 34176.348 | 31.0561 | 1061384.9675 | -609336.9472 | 2.62% | 30.74% | -895.4203 | -15964.628 |  | 2020-10-01 | 28.3694 | 744 | 31.0253
| 1) | Oklahoma was determined to be a very competitive state for Industrial customers | [5 empty] | 2020-12-01 | 31 | 744 | 17368.308 | 849055.3992 |  | 2020-12-01 | 849055.3992 | 17368.308 | 31.1652 | 541287.3669 | -307768.0324 | 2.54% | 33.28% | -441.155 | -7817.308 |  | 2020-11-01 | 29.573 | 721 | 31.0561
| 2) | Volatilities are based on monthly retail volatilities for WA and OK; monthly data from EIA |  |  |  |  | 2021-01-01 | Totals | 366 | 8784 | 205058.088 | 10024331.4878 | [6 empty] | Totals | 33.28% |  | -34905.6489 | -674240.5936 |  | 2020-12-01 | 40.3656 | 744 | 31.1652
| 3) | Value of power is at par between Grant PUD and OK in the first period | [11 empty] | *As calculated by P Dietz using Monte Carlo simulation over 100,000 random games | [10 empty] | 2021-01-01 | 37.2355 | 744
| 4) | The change in the price spread only needs to be $0.0025/kWh to entice some customers to leave | [22 empty] | 2021-02-01 | 36.6 | 672
[25 empty] | 2021-03-01 | 28.1007 | 743
[25 empty] | 2021-04-01 | 17.6522 | 720
[25 empty] | 2021-05-01 | 14.7554 | 744
[25 empty] | 2021-06-01 | 14.3315 | 720
[25 empty] | 2021-07-01 | 39.586 | 744
[25 empty] | 2021-08-01 | 44.7161 | 744
[25 empty] | 2021-09-01 | 40.8556 | 720
[25 empty] | 2021-10-01 | 28.7328 | 744
[25 empty] | 2021-11-01 | 30.8986 | 721
[25 empty] | 2021-12-01 | 37.1323 | 744

## Embedded Transmission Rates
Estimate of Future Transmission Rates
Source Data From 2017 COSA
Calculation of Embedded System Transmission Cost From the 2017 COSA
|  | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026
|  | 0% | 6.976% | 4.857% | 3.367% | 2.654% | 2.937% | 3.147% | 2.052% | 2.11%
| Total Retail Sales MWh | 5095340 | 5450803 | 5715561 | 5908009 | 6064836 | 6242988 | 6439426 | 6571545 | 6710208
| Transmission Costs | 25195512 | 27034927 | 23228233 | 22429402 | 22982341 | 23169954 | 16443310 | 14906779 | 14954241
| Cost per MWh | 4.9448 | 4.9598 | 4.064 | 3.7964 | 3.7894 | 3.7114 | 2.5535 | 2.2684 | 2.2286

## Comparison With Old Rates
Rate Schedule 17 Summary |  |  | Comparison of Recommendation to Original Rate Schedule 17b |  |  |  |  | Typical Monthly Customer Load |  |  |  |  | Proposed Billing Rates Effective 4/1/2020 | [5 empty] | Billingh Rates Effective 4/1/2019 |  |  |  |  | Rate Schedule 17 Comparison or Recommended to Original
| Rate Schedule 17b (>200kW) |  |  | Rate Schedule 17b (>200kW) | [5 empty] | Rate Schedule 17 |  |  |  | RS17b >200kW Billing Determinants and Rates | [5 empty] | RS17b >200kW Billing Determinants and Rates |  |  |  |  | Rate Schedule 17b for a 150 kW Typical Customer below 200 kW
| Proposed | Component |  | Original | Workshop* | Proposed | Component |  |  | 17b | 17ar | 17ac |  |  | 2019 | 2020 | 2021 |  |  |  | 2019 | 2020 | 2021 |  | Year | Original | Proposed | Change $/kWh | Change %
| 31% | Assigned Additional Assessment |  | 31% | 31% | 31% | Assigned Additional Assessment |  | kW | 2200 | 7.75 | 150 |  | Base | 500 | 750 | 1000 |  |  | Base | 500 | 750 | 1000 |  | 2019 | 0.033993 | 0.034328 | 0.0003353 | 0.9816%
| 0.028068 | Rate 14 Cost to Serve |  | 0.0281 | 0.028068 | 0.028068 | Rate 14 Cost to Serve |  | LF | 92.85% | 93.38% | 93.38% |  | Energy | 0.02219 | 0.013039 | 0.003888 |  |  | Energy | 0.02219 | 0.02465 | 0.03518 |  | 2020 | 0.052681 | 0.041573 | -0.011108 | -23.57%
| 0.001921 | Trans Acceleration |  | 0.0192 | 0.00075 | 0.001921 | Trans Acceleration |  | akW | 2042.7392 | 7.2367 | 140.0642 |  | Demand | 8 | 19 | 30 |  |  | Demand | 8 | 19 | 30 |  | 2021 | 0.07944 | 0.048818 | -0.030621 | -47.75%
| 0.003365 | Distribution Adder |  | 0.0034 | 0.00337 | 0.003365 | Distribution Adder |  | kWh | 1491199.5997 | 5252.0729 | 101653.0248 |  | Minimum | 75% | 75% | 75% |  |  | Minimum | 75% | 75% | 75%
| 0.003963 | Departure Cost |  | 0.011 | 0.01409 | 0.003963 | Departure Cost
| 0.011568 | Additional Assessment |  | 0.0191 | 0.01433 | 0.011568 | Additional Assessment | [6 empty] | RS17b >200kW Monthly Bill and All-In $/kWh | [5 empty] | RS17b >200kW Monthly Bill and All-In $/kWh |  |  |  |  | Rate Schedule 17a for a kW Typical Customer above 200 kW
| 0.048885 | All-in Rate per kWh |  | 0.0808 | 0.060608 | 0.048885 | All-in Rate per kWh | [7 empty] | 2019 | 2020 | 2021 |  |  |  | 2019 | 2020 | 2021 |  | Year | Original | Proposed | Change $/kWh | Change %
[14 empty] | Base | 500 | 750 | 1000 |  |  | Base | 0 | 0 | 0 |  | 2019 | 0.054529 | 0.083507 | 0.028978 | 41.99%
| Rate Schedule 17a (<200kW) |  |  | Rate Schedule 17a (<200kW) | [9 empty] | Energy | 33089.7191 | 19443.7516 | 5797.784 |  |  | Energy | 33089.7191 | 36758.0701 | 52460.4019 |  | 2020 | 0.081724 | 0.11902 | 0.0373 | 37.16%
| Proposed | Component |  | Original | Workshop* | Proposed | Component | [6 empty] | Demand | 17600 | 41800 | 66000 |  |  | Demand | 17600 | 41800 | 66000 |  | 2021 | 0.12219 | 0.15454 | 0.032351 | 23.38%
| 31% | Assigned Additional Assessment |  | 31% | 31% | 31% | Assigned Additional Assessment | [6 empty] | Minimum | 38392.2893 | 46495.3137 | 54598.338 |  |  | Minimum | 38017.2893 | 58918.5526 | 88845.3014
| 0.0631 | Blended (RS 1 &2) Cost to Serve |  | 0.0607 | 0.0631 | 0.0631 | Blended (RS 1 &2) Cost to Serve | [6 empty] | Bill | 51189.7191 | 61993.7516 | 72797.784 |  |  | Bill | 50689.7191 | 78558.0701 | 118460.4019
| 0.001921 | Trans Call |  | 0.0192 | 0.00075 | 0.001921 | Trans Call | [6 empty] | $/kWh | 0.034328 | 0.041573 | 0.048818 |  |  | $/kWh | 0.033993 | 0.052681 | 0.07944
| 0.003365 | Distribution Adder |  | 0.0034 | 0.00337 | 0.003365 | Distribution Adder
| 0.016836 | Overall Put 1 |  | 0.0222 | 0.01409 | 0.016836 | Departure Cost | [6 empty] | RS17a <200kW Billing Determinants and Rates | [5 empty] | RS17a <200kW Billing Determinants and Rates
| 0.026419 | Additional Assessment |  | 0.0327 | 0.02519 | 0.026419 | Additional Assessment | [7 empty] | 2019 | 2020 | 2021 |  |  |  | 2019 | 2020 | 2021
| 0.11164 | All-in Rate per kWh |  | 0.1382 | 0.1065 | 0.11164 | All-in Rate per kWh | [6 empty] | Base /Day | 5 | 7.5 | 10 |  |  | Base /Day | 5 | 7.5 | 10
[14 empty] | Energy | 0.054551 | 0.075588 | 0.096626 |  |  | Energy | 0.05448 | 0.08165 | 0.12209
[14 empty] | Minimum | 5 | 7.5 | 10 |  |  | Minimum | 5 | 7.5 | 10
[14 empty] | RS17ac <200kW Monthly Bill and All-In $/kWh | [5 empty] | RS17ac <200kW Monthly Bill and All-In $/kWh
[15 empty] | 2019 | 2020 | 2021 |  |  |  | 2019 | 2020 | 2021
[14 empty] | Base /Day | 152.0833 | 228.125 | 304.1667 |  |  | Base /Day | 5 | 7.5 | 10
[14 empty] | Energy | 286.5038 | 396.9962 | 507.4867 |  |  | Energy | 5538.0568 | 8299.9695 | 12410.8178
[14 empty] | Minimum | 5 | 7.5 | 10 |  |  | Minimum | 5 | 7.5 | 10
[14 empty] | Bill | 438.5871 | 625.1212 | 811.6534 |  |  | Bill | 5543.0568 | 8307.4695 | 12420.8178
[14 empty] | $/kWh | 0.083507 | 0.11902 | 0.15454 |  |  | $/kWh | 0.054529 | 0.081724 | 0.12219
[17 empty] | All-in calculated 17a $/kWh subtracted from target Rate | 0.042899
[17 empty] | All-in calculated 17b $/kWh subtracted from target Rate | -6.673e-05
[22 empty] | 2020 | 2021
[21 empty] | 0.03441 | 0.041648 | 0.048885
[21 empty] | 0.0849 | 0.098271 | 0.11164
.
201480000
8391138.3

## Original RS17 Yearly Components
Proposed for RS17b for 2019 Update |  |  |  | Current RS 17 | [7 empty] | Recommended RS 17 | [7 empty] | Retail Rates For Rate Comparisons | [7 empty] | Proposed for RS17b for 2019 Update
[6 empty] | Current | [7 empty] | Recommended | [7 empty] | Base | Energy |  |  |  | Demand
| Pro-forma RS17a Customer Profile |  |  |  |  | RS17a |  |  | RS17b |  |  |  |  | RS17a |  |  | RS17b |  |  |  |  | Base | Base Units | Energy 1 | Energy II | Energy II Threshold |  |  | Pro-forma RS17a Customer Profile
| Component | Amount | Units |  |  | 2019 | 2020 | 2021 | 2019 | 2020 | 2021 |  |  | 2019 | 2020 | 2021 | 2019 | 2020 | 2021 |  | 2018 RS1 | 0.55 | Daily | 0.04547 | 0 | 0 | 0 |  | Component | Amount | Units
| Demand | 30 | kW |  | Base | 5 | 7.5 | 10 | 500 | 750 | 1000 |  | Base | 5 | 7.5 | 10 | 500 | 750 | 1000 |  | 2018 RS7 | 148.32 | Monthly | 0.021 | 0.01857 | 7300000 | 4.96 |  | Demand | 7.75 | kW
| Load Factor | 92.5% |  |  | Energy | 0.05448 | 0.08165 | 0.12209 | 0.02219 | 0.02465 | 0.03518 |  | Energy | 0.05448 | 0.075588 | 0.096626 | 0.02219 | 0.013039 | 0.003888 | [9 empty] | Load Factor | 93.38%
| Annual Energy | 243090 | kWh |  | Demand | RS17b 2019: 8; RS17b 2020: 19; RS17b 2021: 30 |  | Demand | - | - | - | 8 | 19 | 30 | [9 empty] | Annual Energy | 63393.0763 | kWh
| Monthly Energy | 20257.5 | kWh | [25 empty] | Monthly Energy | 5282.7564 | kWh
[6 empty] | RS17a 2019: Proforma Customer |  |  | Proforma Customer
| Pro-forma RS17b Customer Profile |  |  |  |  | RS17a 2019: RS17a; RS17b 2019: RS17b |  |  | RS17a |  |  | RS17b | [11 empty] | Pro-forma RS17b Customer Profile
| Component | Amount | Units |  |  | 2019 | 2020 | 2021 | 2019 | 2020 | 2021 |  |  | 2019 | 2020 | 2021 | 2019 | 2020 | 2021 | [9 empty] | Component | Amount | Units
| Demand | 2000 | kW |  | Base | 152.0833 | 228.125 | 304.1667 | 500 | 750 | 1000 |  | Base | 152.0833 | 228.125 | 304.1667 | 500 | 750 | 1000 | [9 empty] | Demand | 2000 | kW
| Load Factor | 92.85% |  |  | Energy | 1103.6286 | 1654.0249 | 2473.2382 | 30081.5628 | 33416.4274 | 47691.2745 |  | Energy | 1103.6286 | 1531.2337 | 1957.4009 | 30081.5628 | 17676.1378 | 5270.7128 | [9 empty] | Load Factor | 92.85%
| Annual Energy | 16267631.9963 | kWh |  | Demand | 0 | 0 | 0 | 16000 | 38000 | 60000 |  | Demand | 0 | 0 | 0 | 16000 | 38000 | 60000 | [9 empty] | Annual Energy | 16267631.9963 | kWh
| Monthly Energy | 1355635.9997 | kWh |  | Bill Total | 1255.7119 | 1882.1499 | 2777.4048 | 46581.5628 | 72166.4274 | 108691.2745 |  | Bill Total | 1255.7119 | 1759.3587 | 2261.5676 | 46581.5628 | 56426.1378 | 66270.7128 | [9 empty] | Monthly Energy | 1355635.9997 | kWh
[5 empty] | All-in Rate | 0.061988 | 0.092911 | 0.13711 | 0.034361 | 0.053234 | 0.080177 |  | All-in Rate | 0.061988 | 0.08685 | 0.11164 | 0.034361 | 0.041623 | 0.048885
[6 empty] | RS17a 2020: Target; RS17a 2021: 0.1382; RS17b 2021: 0.0808 |  |  |  | Target | 0.11164 |  |  | 0.048885

## COS Plus
From Original Worksheets from File "EVI Rate Class components_07022018_final.xlsx"
Framework 1
|  | Industrial |  | Residential
|  | 31% | Current Adder | 31% | Current Adder
|  | 0.028068 | Current Rate 14 Cost to Serve | 0.060657 | Current Blended (RS 1 &2) Cost to Serve
|  | 0.019246 | Trans Call | 0.019246 | Trans Call
|  | 0.0033646 | Distribution Adder | 0.0033646 | Distribution Adder
|  | 0.010966 | Overall Put 1 | 0.022246 | Overall Put 1
|  | 0.01911 | Subsidy Term | 0.032709 | Subsidy Term
|  | 0.080754 | total rate per Framework 1 | 0.13822 | total rate per Framework 1

## 3 Year Graduated - Small
From Original Worksheets from File "EVI Rate Class components_07022018_final.xlsx"
| 2018 Rate Schedule 1 |  |  |  | Customer Profile |  |  |  | Customer Profile - Stabilized
|  | Basic | 0.55 | per day | kWhs - Monthly Avg | 5000 |  |  | kWhs - Monthly Avg | 5000
|  | Energy | 0.04547 | per kWh
[5 empty] | Bill - Monthly Avg | 244.0792 |  |  | Bill - Monthly Avg | 686.5
[5 empty] | Avg $/kWh | 0.048816 |  |  | Avg $/kWh | 0.1373
[9 empty] | Difference | 0.088484
[7 empty] | Scenario 3 |  | 3 Year Graduated
[9 empty] | Year 1 | 0.062088 | 15% | 0.013273
[9 empty] | Year 2 | 0.093058 | 35% | 0.030969
[9 empty] | Year 3 | 0.1373 | 50% | 0.044242
Customer Profile - Year 1
[5 empty] | kWhs - Monthly Avg | 5000
|  | Basic | 5 | per day | Bill - Monthly Avg | 424.5048 |  | Basic | 152.0833 | 35.83%
|  | Energy | 0.054484 | per kWh | Avg $/kWh | 0.084901 |  | Energy | 272.4215 | 64.17%
-0.022813
[8 empty] | Total Fixed |  | 35.83%
Customer Profile - Year 2
[5 empty] | kWhs - Monthly Avg | 5000
|  | Basic | 7.5 | per day | Bill - Monthly Avg | 636.3833 |  | Basic | 228.125 | 35.85%
|  | Energy | 0.081652 | per kWh | Avg $/kWh | 0.12728 |  | Energy | 408.2583 | 64.15%
-0.034219
[8 empty] | Total Fixed |  | 35.85%
Customer Profile - Year 3
[5 empty] | kWhs - Monthly Avg | 5000
|  | Basic | 10 | per day | Bill - Monthly Avg | 914.625 |  | Basic | 304.1667 | 33.26%
|  | Energy | 0.12209 | per kWh | Avg $/kWh | 0.18293 |  | Energy | 610.4583 | 66.74%
-0.045625
[8 empty] | Total Fixed |  | 33.26%

## 3 Year Graduated - Large
2018 Rate Schedule 7 | [5 empty] | Customer Profile |  |  |  | Customer Profile - Stabilized
| Basic | 148.32 | per month |  |  | Billing Demand | 2000 | kW |  | Billing Demand | 2000 | kW
| Energy I | 0.021 | per kWh, first | 50000 | kWh | Load Factor | 92.5% |  |  | Load Factor | 92.5%
| Energy II | 0.01857 | per kWh, all additional kWh |  |  | kWhs - Annual | 16206000 |  |  | kWhs - Annual | 16206000
| Demand | 4.96 | per kW Billing Demand |  |  | kWhs - Monthly Avg | 1350500 |  |  | kWhs - Monthly Avg | 1350500
[6 empty] | Bill - Monthly Avg | 35268.605 |  |  | Bill - Monthly Avg | 107904.95
[6 empty] | Avg $/kWh | 0.026115 |  |  | Avg $/kWh | 0.0799
From Original Worksheets from File "EVI Rate Class components_07022018_final.xlsx"
[10 empty] | Difference | 0.053785
[8 empty] | Scenario 3 |  | 3 Year Graduated
[10 empty] | Year 1 | 0.034183 | 15% | 0.0080677
[6 empty] | Customer Profile - Year 1 |  |  |  | Year 2 | 0.053008 | 35% | 0.018825
[6 empty] | Billing Demand | 2000 | kW |  | Year 3 | 0.0799 | 50% | 0.026892
| Basic | 500 | per month |  |  | Load Factor | 92.5%
| Energy | 0.022187 | per kWh |  |  | kWhs - Annual | 16206000
| Demand | 8 | per kW Billing Demand |  |  | kWhs - Monthly Avg | 1350500
[6 empty] | Bill - Monthly Avg | 46464.0567 |  | Basic | 500 | 1.076%
[6 empty] | Avg $/kWh | 0.034405 |  | Energy | 29964.0567 | 64.49%
[7 empty] | -0.00022214 |  | Demand | 16000 | 34.44%
[6 empty] | Customer Profile - Year 2 |  |  | Total Fixed |  | 35.51%
[6 empty] | Billing Demand | 2000 | kW
| Basic | 750 | per month |  |  | Load Factor | 92.5%
| Energy | 0.024648 | per kWh |  |  | kWhs - Annual | 16206000
| Demand | 19 | per kW Billing Demand |  |  | kWhs - Monthly Avg | 1350500
[6 empty] | Bill - Monthly Avg | 72036.7775 |  | Basic | 750 | 1.041%
[6 empty] | Avg $/kWh | 0.053341 |  | Energy | 33286.7775 | 46.21%
[7 empty] | -0.00033321 |  | Demand | 38000 | 52.75%
[6 empty] | Customer Profile - Year 3 |  |  | Total Fixed |  | 53.79%
[6 empty] | Billing Demand | 2000 | kW
| Basic | 1000 | per month |  |  | Load Factor | 92.5%
| Energy | 0.035176 | per kWh |  |  | kWhs - Annual | 16206000
| Demand | 30 | per kW Billing Demand |  |  | kWhs - Monthly Avg | 1350500
[6 empty] | Bill - Monthly Avg | 108504.95 |  | Basic | 1000 | 0.9216%
[6 empty] | Avg $/kWh | 0.080344 |  | Energy | 47504.95 | 43.78%
[7 empty] | -0.00044428 |  | Demand | 60000 | 55.3%
[9 empty] | Total Fixed |  | 56.22%